Zymo DNA/RNA ZymoBIOMICS Extraction Protocol

Written by M. Studivan

Updated: 18 Mar 2026 M. Studivan

All centrifugation steps are performed at room temperature and 16,000 x g (RCF) for 30 seconds unless specified.

- Prior to first use, DNase I should be reconstituted in 275 µL of DNase/RNase-Free Water and stored as frozen aliquots to minimize freeze/thaw cycles. Add 5 µL DNase I per sample (e.g. for 24 samples use 125 µL DNase I) to 2 mL tubes. Freeze until needed.

- Prior to first use, add ethanol to buffer concentrates per instructions on bottles.

- 1) Thaw DNase I aliquot on ice.

- 2) Heat DNase/RNase-Free Water tube on a heat block at 60°C.

- 3) Optional: Scrape tissue from coral fragment and place into a Zymo bead tube with 1.0 mL Zymo DNA/RNA Shield.

- 4) Bead beat for 2 min (6 m/s, 60 s intervals w/ 2 min cool down on ice in between). Remove from ice and incubate at room temperature for 5 min.

- 5) Centrifuge lysate for 1 min to pellet beads, debris, and polysaccharides. Transfer 350 µL of supernatant to new 2.0 mL tube.

- 6) Add equal volume of DNA/RNA Lysis Buffer (350 µL) and mix thoroughly. Transfer 700 µL aliquot to Spin-Away Filter (yellow) in a collection tube and centrifuge. Transfer spin column to a new collection tube for DNA (skip to step 12), and retain the flow-through for RNA (steps 7-11, then continue).

RNA:

- 7) Add equal volume of ethanol (700 µL) to the RNA flow-through and mix by pipetting. Transfer 700 µL to Zymo-Spin IIICG Column (green) in a collection tube and centrifuge, empty flow-through and dab on KimWipe, then repeat for remaining 700 µL.

- 8) Add 400 µl DNA/RNA Wash Buffer to the column, invert columns only, centrifuge, and empty flow-through and dab.

- 9) Prepare DNase reagent in a DNase I aliquot tube by adding 75 µL DNA Digestion Buffer and 5 uL reconstituted DNase I per sample (1.875 mL for 24 samples) and mix by pipetting.

- 10) Add 80 µL of DNase mix directly to each column.

- 11) Incubate at room temperature for 25 min.

DNA and RNA:

- 12) Add 400 µl DNA/RNA Prep Buffer to the column and centrifuge. Discard the flow-through and dab.

- 13) Add 700 µL DNA/RNA Wash Buffer to the column, invert columns only, and centrifuge. Discard the flow-through.

- 14) Add 400 µL DNA/RNA Wash Buffer to the column and centrifuge for 2 min to ensure complete removal of the wash buffer. Transfer the column carefully into a new catch tube. Avoid contact of flow through and spin column tip.

- 15) To elute, add 50 µL of heated DNase/RNase-Free Water directly to the column, incubate for 5 min, and centrifuge at 19,000 x g for 1 min.

- 16) Store eluted RNA on ice for purification or inhibitor removal, or at -80 ºC.

- 17) Optional: Add 600 µL of HRC Prep Solution to Zymo-Spin III-HRC Filter in a collection tube, centrifuge at 8,000 x g for 3 min, and place filter in a new catch tube.

- 18) Optional: Transfer eluted DNA/RNA into prepared Zymo-Spin III-HRC Filter and centrifuge at 16,000 x g for 3 min.

ZymoBIOMICS Tube Prep:

- 2.0 mL bead tube with 1 mL DNA/RNA Shield

- 2.0 mL tube for homogenate

- Spin-Away Filter (yellow) w/ collection tube

- New collection tube for yellow filter

- Zymo-Spin IIICG Column (green) w/ collection tube

- 1.5 mL catch tube for RNA

- 1.5 mL catch tube for DNA

(optional) HRC Tube Prep:

- Zymo-Spin III-HRC Filter w/ collection tube

- 1.5 mL catch tube for RNA

- 1.5 mL catch tube for DNA

Zymo RNA Clean & Concentrator-5 Purification Protocol

Written by M. Studivan

Updated: 16 Apr 2026 M. Studivan

All centrifugation steps are performed at room temperature and 16,000 x g (RCF) for 30 seconds unless specified.

- Prior to first use, add ethanol to buffer concentrates per instructions on bottles.

- 1) Optional: Adjust sample volume to 50 ul with DNase/RNase-Free Water.

- 2) Add 2 volumes (100 µL) of RNA Binding Buffer to each sample and mix by vortex.

- 3) Add an equal volume (150 µL) of 100% ethanol and mix by vortex.

- 4) Transfer to Zymo-Spin IC Column in a collection tube and centrifuge. Empty flow-through and dab on KimWipe.

- 5) Add 400 µL of RNA Prep Buffer to the column and centrifuge. Empty flow-through and dab.

- 6) Add 700 µL of RNA Wash Buffer to the column, invert columns, and centrifuge. Empty flow-through and dab.

- 7) Add 400 µL of RNA Wash Buffer to the column and centrifuge for 2 min to ensure complete removal of the wash buffer. Transfer the column carefully into a new 1.5 mL catch tube. Avoid contact of flow through and spin column tip.

- 8) Add ≥6 µL (25 µL) of DNase/RNase-Free Water heated to 60 ºC directly to the filter and incubate for 5 min. Centrifuge at 19,000 x g for 1 min.

- 9) Store eluted RNA on ice until long-term storage.

- 10) Nanodrop eluted RNA/DNA, blanking using the same DNase/RNase-Free Water used for elution.

- 11) Store eluted RNA at -80 ºC, and eluted DNA at -20 ºC.

RNA Clean & Concentrator Tube Prep:

- Zymo-Spin IC Column w/ collection tube

- 1.5 mL catch tube